## Energy Usage
9059129
Month | Units Consumed | Biil Amount | Avrg Monthly Consumption (unit) | Required Solar System (KW) | Month | Units Consumed | Biil Amount | Avrg Monthly Consumption (unit) | Required Solar System
2024-04-01 | 904 | 5862 | 273.5833 | 2.2486 | 2024-04-01 |  |  | 0 | 0
2024-06-01 | 709 | 3910 | Avrg Bi-Monthly Bill |  | 2024-06-01 |  |  | Avrg Monthly Bill
2024-08-01 | 599 | 2872 | 2681.1667 |  | 2024-08-01 |  |  | 0
2024-10-01 | 534 | 2326 | Avrg Daily Consumption (Unit) |  | 2024-10-01 |  |  | Avrg Daily Consumption (Unit)
2024-12-01 | 338 | 884 | 8.9945 |  | 2024-12-01 |  |  | 0
2025-02-01 | 199 | 233 |  |  | 2024-02-01
Annual Consumption | 3283 | 16087 |  |  | Annual Consumption | 0 | 0
9059143
Month | Units Consumed | Biil Amount | Avrg Monthly Consumption (unit) | Required Solar System | Month | Units Consumed | Biil Amount | Avrg Monthly Consumption (unit) | Required Solar System
2024-04-01 | 936 | 6198 | 264 | 2.1699 | 2024-05-01 |  |  | 0 | 0
2024-06-01 | 656 | 3409 | Avrg Monthly Bill |  | 2024-07-01 |  |  | Avrg Monthly Bill
2024-08-01 | 546 | 2430 | 1242.9167 |  | 2024-09-01 |  |  | 0
2024-10-01 | 487 | 1728 | Avrg Daily Consumption (Unit) |  | 2024-11-01 |  |  | Avrg Daily Consumption (Unit)
2024-12-01 | 303 | 723 | 8.6795 |  | 2025-01-01 |  |  | 0
2024-02-01 | 240 | 427 |  |  | 2025-03-01
Annual Consumption | 3168 | 14915 |  |  | Annual Consumption | 0 | 0
Combined | 6451 | 31002 | 17.674 | 4.4185 | Combined | 0 | 0 | 0 | 0

## Requirement
**Parameter** | **Value** | **Formula / Notes**
Consumer's Daily Energy Consumption (kWh) | 17.674 | Total units consumed per day
Required Solar Capacity (kW) | 4.4185 | Assuming 5 peak sun hours
Panel Wattage Options (W) | 545 | Daily Output: 26.16 kWh Annual Output: 9548.40 kWh
Number of Panels Needed | 12 | 26.16
Cost Per Watt (DCR) | 27.5 | 9548.4
Single Panel Cost | 14987.5 | 6.6
Total Panel Cost | 179850 | DCR
Total Panel Cost(GST 12%) | 201432
Panel Wattage Options (W) | 600 | Daily Output: 24.00 kWh Annual Output: 8760.00 kWh
Number of Panels Needed | 10 | 24
Cost Per Watt (NDCR) | 18 | 8760
Single Panel Cost | 10800 | 6
Total Panel Cost | 108000 | Non-DCR
Total Panel Cost(GST 12%) | 120960
System Type | Hybrid | Select system type
Inverter Size (kW) | 5 | Suggested inverter size
Inverter Cost | 50000
Battery Requirement (kWh) | 8.837 | Only for hybrid/off-grid
Battery Cost (Rs) |  | Custom pricing
Battery Cost (GST) | 0
ACDB Size (kW) | 8 | AC Distribution Box size
DCDB Size (kW) | 8 | DC Distribution Box size
Lightning Arrestor Cost | 1000 | Fixed component cost
Lightning Arrestor Cost(GST 18%) | 1180
Distribution Box Cost | 7500 | ACDB & DCDB
Distribution Box Cost(GST 18%) | 8850 | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost | Distribution Box Cost
Cables & Connectors | 30000
Cables & Connectors(GST) | 35400
Structure Cost | 6500
Total Structure Cost | 28720.2055
Structure Cost(GST 18%) | 33889.8425
Service Charge | 17000 | Miscellaneous costs
**Total System Cost (Rs)** | 318851.8425 | Full system cost calculation

## Costing On-Grid DCR
Content | Quantity | Unit Cost | Sub Total | Gst | Gst Total | Total Cost
Module Bifacial DCR 550 | 12 | 14987.5 | 179850 | 12% | 21582 | 201432
Growatt 5kw 1ph 2mppt | 1 | 21000 | 21000 | 12% | 2520 | 23520
Module Mounting Strucuture | 6.6 | 5000 | 33000 | 18% | 5940 | 38940
DCDB | 1 | 2000 | 2000 | 18% | 360 | 2360
ACDB | 1 | 2000 | 2000 | 18% | 360 | 2360
DC Cable | 1 | 2000 | 2000 | 18% | 360 | 2360
Copper Cable, Pvc Insulated | 1 | 2000 | 2000 | 18% | 360 | 2360
Lightning Arrestor | 1 | 1000 | 1000 | 18% | 180 | 1180
Earthing Kit | 3 | 1000 | 3000 | 18% | 540 | 3540
Earth Cable | 30 | 160 | 4800 | 18% | 864 | 5664
Miscellaneouse Items | 1 | 2000 | 2000 | 18% | 360 | 2360
Transport | 6.6 | 1000 | 6600 | 18% | 1188 | 7788
Installation | 6.6 | 3000 | 19800 | 18% | 3564 | 23364
Sub Total |  |  | 279050 |  | 38178 | 317228
Margin |  | 279050 | 0 | 8.9% | 0 | 0
Total |  | Before Tax | 279050 |  | 38178 | 317228
Grand Total | [5 empty] | 317228

## Costing On-Grid Micro Invrtr
Content | Quantity | Unit Cost | Sub Total | Gst | Gst Total | Total Cost
Module Bifacial DCR 550 | 12 | 14987.5 | 179850 | 12% | 21582 | 201432
Micro Inverter Jio Sparq 2Kw 4MPPT | 3 | 30000 | 90000 | 12% | 10800 | 100800
JCG | 1 | 15000 | 15000 | 18% | 2700 | 17700
Module Mounting Strucuture | 6.6 | 5000 | 33000 | 18% | 5940 | 38940
UPS Sync DB | 1 | 3274 | 3274 | 18% | 589.32 | 3863.32
ACDB | 1 | 8864 | 8864 | 18% | 1595.52 | 10459.52
Copper Cable, Pvc Insulated | 1 | 3000 | 3000 | 18% | 540 | 3540
Lightning Arrestor | 1 | 1000 | 1000 | 18% | 180 | 1180
Earthing Kit | 3 | 1000 | 3000 | 18% | 540 | 3540
Earth Cable | 10 | 160 | 1600 | 18% | 288 | 1888
Miscellaneouse Items | 1 | 1000 | 1000 | 18% | 180 | 1180
Transport | 6.6 | 1000 | 6600 | 18% | 1188 | 7788
Installation | 6.6 | 3000 | 19800 | 18% | 3564 | 23364
Sub Total |  |  | 365988 |  | 49686.84 | 415674.84
Margin | 10% | 365988 | 36598.8 | 18% | 6587.784 | 43186.584
Total |  |  | 402586.8 |  | 56274.624 | 458861.424
Grand Total | [5 empty] | 458861.424

## Costing On-Grid NDCR
Content | Quantity | Unit Cost | Sub Total | Gst | Gst Total | Total Cost
Module TOPCon 580wp | 10 | 10800 | 108000 | 12% | 12960 | 120960
Growatt 10kW | 1 | 52500 | 52500 | 12% | 6300 | 58800
Module Mounting Strucuture | 6 | 4000 | 60000 | 18% | 10800 | 70800
DCDB | 1 | 4900 | 4900 | 18% | 882 | 5782
ACDB | 1 | 4350 | 4350 | 18% | 783 | 5133
DC Cable | 1 | 3000 | 3000 |  | 0 | 3000
Copper Cable, Pvc Insulated | 1 | 3000 | 3000 |  | 0 | 3000
Lightning Arrestor | 1 | 1000 | 1000 |  | 0 | 1000
Earthing Kit | 3 | 1000 | 3000 |  | 0 | 3000
Earth Cable | 50 | 160 | 8000 |  | 0 | 8000
Miscellaneouse Items | 1 | 3000 | 3000 |  | 0 | 3000
Transport | 6 | 1000 | 6000 | 18% | 1080 | 7080
Installation | 6 | 3000 | 18000 |  | 0 | 18000
Sub Total |  |  | 274750 |  | 32805 | 307555
Margin |  | 274750 | 0 |  | 0 | 0
Total |  |  | 274750 |  | 32805 | 307555
Grand Total | [5 empty] | 307555

## Costing Hybrid
Item | Quantity | Unit Cost | Sub Total | Gst | Gst Total | Total Cost
595W TOPCon Bifacial | 10 | 10800 | 108000 | 12% | 12960 | 120960
3Kw 1Ph Deye Hybrid Inverter | 1 | 66000 | 66000 | 12% | 7920 | 73920
100Ah/ 51v Lithium Battery(SE-G5.3 | 1 | 92000 | 92000 | 18% | 16560 | 108560
Elevated HDG Solar Module Mounting Structure GI | 6 | 5000 | 30000 | 18% | 5400 | 35400
ACDB Panel with AC Changeover and input MCB, SPD. | 1 | 4350 | 4350 | 18% | 783 | 5133
DCDB and DC MCCB for battery disconnect and confluence box-2 Numbers | 1 | 2300 | 2300 | 18% | 414 | 2714
Battery Rack | 1 | 4500 | 4500 | 18% | 810 | 5310
EP CABLE 5.0,EN CABLE 5.0,EPWR CABLE 5.0,ECOM Cable 5.0 | 1 | 3000 | 3000 | 18% | 540 | 3540
Battery Cable Copper | 1 | 2000 | 2000 | 18% | 360 | 2360
4sq.mm DC Cable | 1 | 2000 | 2000 | 18% | 360 | 2360
Earthing Kit | 3 | 1000 | 3000 | 18% | 540 | 3540
Lightning Arrestor | 1 | 1000 | 1000 | 18% | 180 | 1180
Miscellaneouse | 6.6 | 500 | 3300 | 18% | 594 | 3894
Installation | 6.6 | 4000 | 26400 | 18% | 4752 | 31152
Transport | 6.6 | 1500 | 9900 | 18% | 1782 | 11682
Sub Total |  |  | 357750 |  | 53955 | 411705
Margin | 10% | 357750 | 35775 | 18% | 6439.5 | 42214.5
Total |  |  | 393525 |  | 60394.5 | 453919.5
Grand Total | [5 empty] | 453919.5

## ROI
Year | Investment | Annual Savings | Cummulative Savings | Return on Investment
2025 |  | 60706.8 | 60706.8 | -239558.9
2026 |  | 63742.14 | 124448.94 | -178852.1
2027 |  | 66929.247 | 191378.187 | -115109.96
2028 |  | 70275.7094 | 261653.8963 | -48180.713
2029 |  | 73789.4948 | 335443.3912 | 22094.9963
2030 |  | 77478.9696 | 412922.3607 | 95884.4912
2031 |  | 81352.918 | 494275.2788 | 173363.4607
2032 |  | 85420.5639 | 579695.8427 | 254716.3788
2033 |  | 89691.5921 | 669387.4348 | 340136.9427
2034 |  | 94176.1717 | 763563.6066 | 429828.5348
2035 |  | 98884.9803 | 862448.5869 | 524004.7066
2036 |  | 103829.2293 | 966277.8163 | 622889.6869
2037 |  | 109020.6908 | 1075298.5071 | 726718.9163
2038 |  | 114471.7254 | 1189770.2324 | 835739.6071
2039 |  | 120195.3116 | 1309965.544 | 950211.3324
2040 |  | 126205.0772 | 1436170.6212 | 1070406.644
2041 |  | 132515.3311 | 1568685.9523 | 1196611.7212
2042 |  | 139141.0976 | 1707827.0499 | 1329127.0523
2043 |  | 146098.1525 | 1853925.2024 | 1468268.1499
2044 |  | 153403.0601 | 2007328.2625 | 1614366.3024
2045 |  | 161073.2131 | 2168401.4757 | 1767769.3625
2046 |  | 169126.8738 | 2337528.3494 | 1928842.5757
2047 |  | 177583.2175 | 2515111.5669 | 2097969.4494
2048 |  | 186462.3783 | 2701573.9453 | 2275552.6669
2049 |  | 195785.4973 | 2897359.4425 | 2462015.0453
2050 |  | 205574.7721 | 3102934.2147 | 2657800.5425
2051 |  | 215853.5107 | 3318787.7254 | 2863375.3147
2052 |  | 226646.1863 | 3545433.9117 | 3079228.8254
2053 |  | 237978.4956 | 3783412.4072 | 3305875.0117

## ROI NDCR
Year | Investment | Annual Savings | Cummulative Savings | Return on Investment
2025 |  | 96360 | 96360 | -299202.75
2026 |  | 101178 | 197538 | -202842.75
2027 |  | 106236.9 | 303774.9 | -101664.75
2028 |  | 111548.745 | 415323.645 | 4572.15
2029 |  | 117126.1823 | 532449.8273 | 116120.895
2030 |  | 122982.4914 | 655432.3186 | 233247.0773
2031 |  | 129131.6159 | 784563.9345 | 356229.5686
2032 |  | 135588.1967 | 920152.1313 | 485361.1845
2033 |  | 142367.6066 | 1062519.7378 | 620949.3813
2034 |  | 149485.9869 | 1212005.7247 | 763316.9878
2035 |  | 156960.2862 | 1368966.011 | 912802.9747
2036 |  | 164808.3005 | 1533774.3115 | 1069763.261
2037 |  | 173048.7156 | 1706823.0271 | 1234571.5615
2038 |  | 181701.1514 | 1888524.1784 | 1407620.2771
2039 |  | 190786.2089 | 2079310.3874 | 1589321.4284
2040 |  | 200325.5194 | 2279635.9067 | 1780107.6374
2041 |  | 210341.7953 | 2489977.7021 | 1980433.1567
2042 |  | 220858.8851 | 2710836.5872 | 2190774.9521
2043 |  | 231901.8294 | 2942738.4165 | 2411633.8372
2044 |  | 243496.9208 | 3186235.3374 | 2643535.6665
2045 |  | 255671.7669 | 3441907.1042 | 2887032.5874
2046 |  | 268455.3552 | 3710362.4594 | 3142704.3542
2047 |  | 281878.123 | 3992240.5824 | 3411159.7094
2048 |  | 295972.0291 | 4288212.6115 | 3693037.8324
2049 |  | 310770.6306 | 4598983.2421 | 3989009.8615
2050 |  | 326309.1621 | 4925292.4042 | 4299780.4921
2051 |  | 342624.6202 | 5267917.0244 | 4626089.6542
2052 |  | 359755.8512 | 5627672.8756 | 4968714.2744

## Savings & ROI DCR
System Size (kw) | 6.6
Annual Production (kWh) | 9636
Electricity Rate (₹/kWh) (without Considering Inflation) | 6.3
Annual Savings | 60706.8
Payback Period (Years) | 3.9462
System Lifespan (Years) | 30
Gross Saving | 1821204
Maintanence and Inverters(Deduct) | 427240.8
Net Saving | 1393963.2
Total System Cost | 239558.9
Net Profit | 1154404.3
ROI | 481.9%
Yearly ROI | 25.34%

## Savings & ROI NDCR
System Size (kw) | 6
Annual Production (kWh) | 8760
Electricity Rate (₹/kWh) (without Considering Inflation) | 11
Annual Savings | 96360
Total System Cost | 299202.75
Payback Period (Years) | 3.1051
System Lifespan (Years) | 27
Gross Saving | 2601720
Maintanence and Inverters(27 Years) | 677844
Net Saving | 1923876
Net Profit | 1624673.25
ROI | 543%
Yearly ROI | 32.21%

## On-Grid Quote
S.no | Content | Description | Make | Qty | UOM | Price
1 | Module Bifacial DCR | BIfacial 545 | Renew/Adani | 12 | Nos | 279050
2 | On-Grid Inverter | 5Kw 1Ph Dual MPPT | Growatt | 1 | No
3 | Module Mounting Structure | GI Elevated | VRM/GreenField | 6.6 | KW
4 | DCDB | 1 in 1 out | Nordic/Green Fiald | 1 | No
5 | ACDB | 1 in 1 out | Nordic/GreenField | 1 | No
6 | DC Cable | 4 sq.mm | Polycab/Orbit | As Req | Mts
7 | Copper Cable, PVC Insulated | 3C, 4 sq.mm | Polycab /Orbit | As Req | Mts
8 | Flexible Conduits | PVC | Finolex/Aashirvaad | As Req | Mts
9 | Earth Pit | Earth pit&Chambers | Customized | 3 | Nos
10 | Lightning Arrestor | Spike | Branded | 1 | Nos
11 | Miscellaneouse Items | plugs, screws | Multiple | 1 | Set
12 | Transport | Roadways | MSS | 6.6 | Lot
13 | Installation | End to End | Zeedra Solar | 6.6 | Kw
Gst @ 13.8% | [5 empty] | 38508.9
Total | [5 empty] | 317558.9

## On-Grid Quote NDCR
S.no | Content | Description | Make | Qty | UOM | Price
1 | Module Bifacial DCR | Bifacial 580 | Panasonic/Renew | 10 | Nos | 274750
2 | On-Grid Inverter | 10kW 3Ph | Growatt | 1 | No
3 | Module Mounting Structure | Elevated GI | VRM/SMS | 6 | KW
4 | DCDB | 2 in 2 out | Nordic/Green Fiald | 1 | No
5 | ACDB | 1 in 1 out | Nordic/GreenField | 1 | No
6 | DC Cable | 4 sq.mm | Polycab/Orbit | As Req | Mts
7 | Copper Cable, PVC Insulated | 3C, 4 sq.mm | Polycab /Orbit | As Req | Mts
8 | Flexible Conduits | PVC | Finolex/Aashirvaad | As Req | Mts
9 | Earth Pit | Earth pit&Chambers | Customized | 3 | Nos
10 | Lightning Arrestor | Spike | Branded | 1 | Nos
11 | Miscellaneouse Items | plugs, screws | Multiple | 1 | Set
12 | Transport | Roadways | MSS | 6 | Lot
13 | Installation | End to End | Zeedra Solar | 6 | Kw
Gst @ 8.9% | [5 empty] | 24452.75
Total | [5 empty] | 299202.75

## On-Grid Micro Invrtr Quote
S.no | Content | Description | Make | Qty | UOM | Price
1 | Module Bifacial DCR | Bifacial 550 | Adani/Renew | 12 | Nos | 402586.8
2 | Micro Inverter | 2Kw 4MPPT | Jio Sparq | 3 | No
3 | Communication Gateway Invrtr | Upto 6 Inverters | Jio | 1 | No
4 | Module Mounting Structure | Elevated GI HDP | VRM/GreenField | 6.6 | KW
5 | UPS Sync DB | 1 in 1 out | Jio | 1 | No
6 | ACDB Sync Micro Inverter | 1 in 1 out | Jio | 1 | No
7 | Copper Cable, PVC Insulated | 3C, 4 sq.mm | Polycab /Orbit | As Req | Mts
8 | Flexible Conduits | PVC | Finolex/Aashirvaad | As Req | Mts
9 | Earth Pit | Earth pit&Chambers | Customized | 3 | Nos
10 | Lightning Arrestor | Spike | Branded | 1 | Nos
11 | Miscellaneouse Items | plugs, screws | Multiple | 1 | Set
12 | Transport | Roadways | MSS | 6.6 | Lot
13 | Installation | End to End | Zeedra Solar | 6.6 | Kw
Gst @ 13.8% | [5 empty] | 55556.9784
Total | [5 empty] | 458143.7784

## Hybrid Quote
S.no | Content | Description | Make | Qty | UOM | Price
1 | Solar Photovoltaic Module | TOPCon Bifacial 580Wp | Panasonic | 10 | Nos | 393525
2 | Hybrid Inverter | 5kw 1 phase | Deye | 1 | No
3 | Lithium Battery | 100Ah / 51v | Deye | 1 | No
4 | Solar Module Mounting Structure | Elevated GI HDG | SMS | 6 | Set
5 | ACDB Panel with AC Changeover and input MCB, SPD. | 1 in 1 out, 1phase | Festa | 1 | No
6 | DCDB and DC MCCB for battery disconnect and confluence box-2 Numbers | 1 in 1 out, 500v | Festa | 1 | No
7 | Battery Rack | 160A | Deye | 1 | Set
8 | Ac Cable | EP 5.0,EN 5.0,EPWR 5.0,ECOM 5.0 | Festa | As req | Mtr
9 | Battery Cable | Copper | Festa | As req | Mtr
10 | DC Cable | 4sq.mm | Polycab/Orbit | As req | Mtr
11 | Earthing Kit | 1 | Nordic | 3 | No
12 | Lightning Arrestor | 1 | Nordic | 1 | No
13 | Installation | End to end | Zeedra | 6 | Kw
14 | Transport and Miscellaneous |  |  | 6 | Kw
Gst @ 13.8% (As Per GST Rules 70% of the price considered as supply and takes at 12% GST 30% of the price is considered as Installation and taken at 18% GST) | [5 empty] | 54306.45
Grand Total | [5 empty] | 447831.45

## T&C
Terms & Conditions of the Sale
Taxes & Duties | The above price is Exclusive of currently applicable taxes and duties. In case of any change in applicable taxes or incidence of new taxes including tax implication due to interpretation changes if any, the impact of the same shall be payable by the Customer
Validity Of Offer | This offer is valid for 7days from the date of offer and thereafter subject to our reconfirmation.
Project Timeline | Materials Delivery – 2 weeks after Advance Payment Installation – 1 week Net Metering Processing – 3-4 Weeks
Subsidy | We will facilitate the Subsidy Process. Subsidy will get credited to Customer Bank Account directly.
Payment Terms | 50 % Advance 40% against supply of panels and inverter to site 10% against Installation of Net Meter
Warranty | Solar Module 12 Years Limited Warranty on Product and Workmanship 25 Years Limited Warranty on 80% Power Output Inverter – 7 Years Warranty Balance Of System – 1 Year Warranty Parts and Components, which are repaired or replaced during such period, are warranted for the original warranty period only and will not carry any extended warranty. If the equipment is not repairable at site the same has to be sent at our workshop on freight prepaid basis after obtaining our consent in writing and we shall make good the defect and return back to you on freight to pay basis. The warranty shall not apply to defects resulting from: - Willful damage or negligence, normal wear and tear, - Installation and/or maintenance by Purchaser or a third party without supplier’s prior written consent, - Misuse or abuse of Equipment. - Modifications or alterations made by Purchaser or a third party without supplier's written consent.